## Sheet1
Method ID | Description | Units? | Link
Cacl2-1 | "pH of soil - pH of 1:2.5 Soil/0.1M CaCl2 suspension" | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
Cacl2-2 | "pH of soil - pH of 1:2.5 Soil/0.1M CaCl2 suspension" | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
Cacl2-3 | "pH of 1:5 soil/0.01M calcium chloride extract - direct" | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
Cacl2-4 | "pH of 1:5 soil/0.01M calcium chloride extract - following Method 4A1" | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
Cations-5 | "Cation ratio" | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
Cole-1 | "Coefficient of Linear Extensibility (Grossman et al. 1968)" | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
Cole-2 | Linear shrinkage (Standards Association of Australia 1977. AS 1289 C4.1) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
Cole-3 | Modified linear shrinkage (McKenzie, Jacquier and Ringrose-Voase, AJSR, 1994, 32, 931-8) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
Dispersion-1 | Dispersion Index (Loveday and Pyle, 1973) | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
H2O-1 | pH of soil - pH of 1:1 soil/water suspension | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
H2O-2 | pH of soil - pH of 1:2.5 soil/water suspension | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
H2O-3 | pH of 1:5 soil/water suspension | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
H2O2-1 | pH of hydrogen peroxide extract | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
KCL-1 | pH of 1:1 soil/1M potassium chloride suspension | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
KCL-2 | pH of 1:5 soil/1M potassium chloride extract - direct | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
KCL-3 | pH of 1:5 soil/1M potassium chloride extract - following Method 4A1 | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
Na-18 | Sodium absorption ratio (SAR) | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
NaF-1 | pH of sodium fluoride suspension | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
P-1 | Total organic carbon/total nitrogen ratio | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
P-14 | Buffering Capacity by 0.01M CaCl2, solution of 0 ppm phosphorus added (CSIRO Div of Soil Tech Mem 63/1972) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
P-15 | Buffering Capacity by 0.01M CaCl2, solution of 0.5 ppm phosphorus added (CSIRO Div of Soil Tech Mem 63/1972) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
P-16 | Buffering Capacity by 0.01M CaCl2, solution of 1 ppm phosphorus added (CSIRO Div of Soil Tech Mem 63/1972) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
P-17 | Buffering Capacity by 0.01M CaCl2, solution of 2 ppm phosphorus added (CSIRO Div of Soil Tech Mem 63/1972) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
P-18 | Buffering Capacity by 0.01M CaCl2, solution of 4 ppm phosphorus added (CSIRO Div of Soil Tech Mem 63/1972) | Number | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Number | qunit:Number
Ph-1 | pH/SE | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Number
Ph-2 | pH of soil - Not recorded | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
Ph-3 | pH change | pH | http://registry.it.csiro.au/def/environment/unit/_pH | eunit:pH
PO4-1 | Phosphate sorption index | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
PO4-2 | Phosphate sorption curve - manual colour | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
PO4-3 | Phosphate sorption curve - automated colour | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
Saturation-Extract 1 | Saturation extract - filter suction | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
Saturation-Extract 2 | Saturation extract - automatic extractor | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
Saturation-Extract 3 | Saturation extract - centrifuge, closed system | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless
Saturation-Extract 4 | Saturation extract - centrifuge, Gillman | Unitless | http://registry.it.csiro.au/def/qudt/1.1/qudt-unit/Unitless | qunit:Unitless